## Slide 1: EE 303 Energy Systems and Power Electronics Energy Overview
GRA: Prashant Tiwari
Advisor: Dr. Zhaoyu Wang
1113 Coover Hall, Ames, IA
wzy@iastate.edu
ECpE Department

## Slide 2: Energy Related Statistics
ECpE Department

## Slide 3
ECpE Department

## Slide 4: Electricity Generation by Fuel – 1990-2040
ECpE Department

## Slide 5: Electricity Demand by Fuel and By Sector – 2000-2040
ECpE Department

## Slide 6: Electricity Use by Region
ECpE Department

## Slide 7: CO2 Emission Plateau
ECpE Department

## Slide 8: Earth Average Temperature Increase – 2011-2099
ECpE Department

## Slide 9: Renewable Energies – Wind and Solar
ECpE Department

## Slide 10: Renewable Energies – Wind and Solar
ECpE Department

## Slide 11: Renewable Energies – Wind and Solar
ECpE Department

## Slide 12: Solar Energy Grid Integration
ECpE Department

## Slide 13: Solar Energy Grid Integration
ECpE Department

## Slide 14: Solar Energy Grid Integration
ECpE Department

## Slide 15: Solar Energy Grid Integration
ECpE Department

## Slide 16: Solar Energy Grid Integration
ECpE Department

## Slide 17: Solar Energy Grid Integration
ECpE Department

## Slide 18: Wind Energy Grid Integration
ECpE Department

## Slide 19: Wind Energy Grid Integration
ECpE Department

## Slide 20: Wind Energy Grid Integration
ECpE Department

## Slide 21: Wind Energy Grid Integration
ECpE Department

## Slide 22: Wind Energy Grid Integration
ECpE Department

## Slide 23: Wind Energy Grid Integration
ECpE Department

## Slide 24: Wind Energy Grid Integration
ECpE Department

## Slide 25: What is a Microgrid?
ECpE Department

## Slide 26: What is a Microgrid?
ECpE Department

## Slide 27: What is a Microgrid?
ECpE Department

## Slide 28: What is a Microgrid?
ECpE Department

## Slide 29: What is a Microgrid?
ECpE Department

## Slide 30: Energy Quiz
ECpE Department
Here is a quick quiz on several energy-related issues:
http://corporate.exxonmobil.com/en/company/multimedia/energy-lives-here/quiz

## Slide 31: Main components of Power system
ECpE Department

## Slide 32: Categorization of transmission lines
ECpE Department

## Slide 33: Power plants: Nuclear, Hydro and Thermal
ECpE Department

## Slide 34: Main components of Power System
ECpE Department

## Slide 35: Insulators
ECpE Department

## Slide 36: Distribution line tower
ECpE Department

## Slide 37: Bundled Conductor
ECpE Department

## Slide 38: Bundled Conductor with four sub-conductors
ECpE Department

## Slide 39: Power System Basics
ECpE Department
Notation: Power
Power: Instantaneous consumption of energy
Power Units
Watts = voltage x current for dc (W)
kW – 1 x 103 Watt
MW – 1 x 106 Watt
GW – 1 x 109 Watt
Installed U.S. generation capacity is about 1,100 GW (about 3.5 kW per person)

## Slide 40: Notation - Energy
ECpE Department
Energy: Integration of power over time; energy is what people really want from a power system
Energy Units
Joule = 1 Watt-second (J)
kWh = kilowatt hour (3.6 x 106 J)
1 Watt-hour = 3.4121 BTU
U.S. annual electric energy consumption is about 4,000 billion kWh (about 13,000 kWh per person, which means on average we each use 1.5 kW of power continuously)

## Slide 41: Electric Power System
ECpE Department
Usually Divided into:
Generation: Source of power, ideally with a specified voltage and frequency.
Transmission: Transmits power; ideally as a perfect conductor.
Loads: Consumes power; ideally with a constant resistive value.

## Slide 42: Electric Power System
ECpE Department
Complications:
No ideal voltage sources exist,
Loads are seldom constant,
Transmission system has resistance, inductance, capacitance and flow limitations,
Simple system has no redundancy so power system will not work if any component fails.

## Slide 43: US Electric Power Generation
ECpE Department

## Slide 44: Energy Flow
ECpE Department
1 QUAD = 1015 BTU

## Slide 45: Electric Power Generation
ECpE Department

## Slide 46: Electric Power Transmission
ECpE Department

## Slide 47: Electric Power Distribution
ECpE Department

## Slide 48: Goals of Power System Operation
ECpE Department
Supply load (users) with electricity at:
    Specified voltage (120 ac volts common for residential),
    Specified frequency,
    With minimum cost (usually).

## Slide 49: Major Impediments
ECpE Department
Load is constantly changing.
Power system is subject to disturbances, such as lightning strikes.
Engineering tradeoffs between reliability and cost.

## Slide 50: Brief History of Electric Power
ECpE Department
Early 1880’s –Edison introduced Pearl Street dc system in Manhattan supplying 59 customers
1884 –Sprague produces practical dc motor
1885 –Invention of transformer
Mid 1880’s –Westinghouse/Tesla introduce rival ac system
Late 1880’s –Tesla invents ac induction motor
1893 –First 3 phase transmission line operating at 2.3 kV
1896 –ac lines deliver electricity from hydro generation at Niagara Falls to Buffalo, 20 miles away
Early 1900’s –Private utilities supply all customers in area (city); recognized as a natural monopoly; states step in to begin regulation.

## Slide 51: Contd…
ECpE Department
By 1920’s –Large interstate holding companies control most electricity systems.
1935 –Congress passes Public Utility Holding Company Act (PUHCA) to establish national regulation, breaking up large interstate utilities
1935/6 –Rural Electrification Act brought electricity to rural areas
1930’s –Electric utilities established as vertical monopolies

## Slide 52: 1930’s: Vertical Monopolies
ECpE Department
Within a particular geographic market, the electric utility had an exclusive franchise.
In return for this exclusive franchise, the utility had the obligation to serve all existing and future customers at rates determined jointly by utility and regulators.
It was a “cost plus” business.

## Slide 53: Contd, 1930’s: Vertical Monopolies…
ECpE Department
Within its service territory each utility is the only game in town.
Neighboring utilities functioned more as colleagues than competitors.
Utilities gradually interconnected their systems so by 1970 transmission lines crisscrossed North America, with voltages up to 765 kV.
Economies of scale keep resulting in decreasing rates, so everyone was happy.

## Slide 54: Contd, History – 1970’s…
ECpE Department
1970’s brought inflation, increased fossil-fuel prices, calls for conservation and growing environmental concerns.
Increasing rates replaced decreasing ones.
As a result, U.S. Congress passed Public Utilities Regulator Policies Act (PURPA) in 1978, which mandated utilities must purchase power from independent generators located in their service territory.
PURPA introduced some competition.

## Slide 55: Contd, History – 1990’s…
ECpE Department
Major opening of industry to competition occurred as a result of Federal Power Act of 1992
This act mandated that utilities provide “nondiscriminatory” access to the high voltage transmission
Goal was to set up true competition in generation markets
Result over the last few years has been dramatic restructuring of electric utility industry

## Slide 56: Utility Restructuring
ECpE Department
Driven by significant regional variations in electric rates.
Goal of competition is to reduce rates through the introduction of competition.
Eventual goal is to allow consumers to choose their electricity supplier.

## Slide 57: State Variation in Electric Rates
ECpE Department

## Slide 58: Industry Forces Today
ECpE Department

## Slide 59: Thank You!
ECpE Department