## Slide 1: EE 303 Energy Systems and Power Electronics Introduction to Power Basics
GRA: Prashant Tiwari
Advisor: Dr. Zhaoyu Wang
1113 Coover Hall, Ames, IA
wzy@iastate.edu
ECpE Department

## Slide 2
Phasor
Exponential Form:
where, ,
,
Complex Number:
Polar Form:
Rectangular Form:
Conjugation:

## Slide 3: Mathematical Operations

## Slide 4: Time Domain
I ; where,

## Slide 5: Time Domain VS Phasor Domain
Objective: Phasor Domain Analysis for simplifying calculations
Assumption:
Constant frequency system
Sine Wave
ECpE Department

## Slide 6: Time Domain Representation
We discussed in Lecture 1, the Time domain representation of voltage and current are,
I
Root Mean Square (RMS) of a sine signal is,
ECpE Department

## Slide 7: Contd…
I
I
Note: [For conversion of equation (i) to (ii)]
As,
Real Part
Imaginary Part
…………………………… (i)
………………..……….. (ii)
ECpE Department

## Slide 8: Phasor Domain Representation
Voltage and Current can be represented in phasor domain as,
I
Exponential
Polar
Rectangular

## Slide 9: Representation of Electrical Components
Component | Time Domain | Phasor Domain
Resistor |  | 
Inductor |  | 
Capacitor |  | 
Component | Time Domain | Phasor Domain
Resistor |  | 
Inductor |  | 
Capacitor |  | 
ECpE Department

## Slide 10: Impedance
‘Z’ denotes the impedance.
Mathematically,
, where R = resistance and
X = reactance
Note:
Here, and is called ‘Inductive Impedance’
and, and is called ‘Capacitive Impedance’
ECpE Department

## Slide 11: Contd..
Expression of in polar form.
As,
In Polar Form, ; where,
and
The reciprocal of Impedance is termed as admittance.
i.e.
ECpE Department

## Slide 12: Example 1: Find i(t)
The voltage source in the figure shown is defined as where,
Find i
ECpE Department

## Slide 13: Solution
Given,
R = 4Ω,
X = = = 3
and
Now, I = A
ECpE Department

## Slide 14: Complex Power
P
where,
I
p
+
ECpE Department

## Slide 15: Contd…
Average Power =
Power factor (pf) = cos [pf lies between 0 and 1]
Average power is also referred as active power.
Power factor Angle
ECpE Department

## Slide 16: Contd…
Note:
If current leads voltage, < 0
then pf is leading.
If current lags voltage, > 0
then pf is lagging.
ECpE Department

## Slide 17: Contd…
Active Power (P) (Watts)
Reactive Power (Q) ) (VAr)
Complex Power, S = P+jQ (Unit of S is usually VA, kVA)
S = ]
=
=
=
ECpE Department

## Slide 18: Contd…
Magnitude of Apparent Power:
The real power, reactive power and apparent power can be represented as shown in the figure. The figure is called power triangle.
From Power Triangle, we can get,
ECpE Department

## Slide 19: Example 2:
A load draws 100kW with leading pf of 0.85. What is , Q and S?
Solution:
ECpE Department

## Slide 20: Contd…
Q. A load draws 100kW with leading pf of 0.85. What is , Q and S?
Solution:
Apparent Power (S)
Reactive Power (Q) =
Complex Power (S) =
ECpE Department

## Slide 21: Review
Voltage Phasor:
Complex Power:
  S = ]
  P is Real Power/ Active Power, Units – W, kW, μW
    Q is Reactive Power, Units – VAr, kVAr, μVAr
S is Complex Power, Units – VA, kVA, Μva
ECpE Department

## Slide 22: Contd…
Power factor Angle: =
Power factor (pf): (value ranges from 0 to 1)
Leading pf: current angle leads voltage angle ( < 0).
Lagging pf: current angle lags voltage angle ( > 0).
ECpE Department

## Slide 23: 39 – Bus Test System
Transformer
Load
(P+jQ)
Bus
Line
(Z=R+jX)
ECpE Department

## Slide 24: 118 – Bus Test System
ECpE Department

## Slide 25: Example 1:
The voltage source in the figure shown is defined as where,
ECpE Department

## Slide 26: Solution
We know,
I = A
S
Now,
ECpE Department

## Slide 27: Contd…
Notes:
Inductors only consume reactive power.
where,
Capacitors only generate reactive power.
where,
ECpE Department

## Slide 28: Example 2:
Assume a load 100 kVA with pf=0.8 lagging, where as correct pf is 0.95 lagging. Find the value of reactive power that must be injected to maintain the correct pf.
ECpE Department

## Slide 29: Example 2:
Assume a load 100 kVA with pf=0.8 lagging, where as correct pf is 0.95 lagging. Find the value of reactive power that must be injected to maintain the correct pf.
ECpE Department
S = P+jQ = 80+j60

## Slide 30: Thank You!