## Slide 1: EE 303 Energy Systems and Power Electronics Three Phase Systems
GRA: Prashant Tiwari
Advisor: Dr. Zhaoyu Wang
1113 Coover Hall, Ames, IA
wzy@iastate.edu
ECpE Department

## Slide 2: Three Phase Systems
ECpE Department
High-power equipment such as generators, transformers, and transmission lines are built as three phase equipment. However, at the distribution level, depending on the voltage/power rating, a mixture of single phase and three-phase systems is used.
The three-phase system has many advantages over the single-phase system.
Three-phase systems produce a rotating magnetic field inside the alternating current (ac) motors and, therefore, cause the motors to rotate without the need for extra controls.
Three-phase generators produce more power than single-phase generators of equivalent volume.
Three-phase transmission lines transmit three times the power of single-phase lines.
Three-phase systems are more reliable; when one phase is lost, the other two phases can still deliver some power to the loads

## Slide 3
ECpE Department

## Slide 4: Generation of Three-Phase Voltages
ECpE Department
According to Faraday’s law, when a conductor cuts magnetic field lines, a voltage is induced across the conductor. The synchronous generator uses this phenomenon to produce a three-phase voltage.
The generator consists of an outer frame called stator and a rotating magnet called rotor.
At the inner perimeter of the stator, coils are placed inside slots. Each of the two slots separated by 180° houses a single coil (a–a′, b–b′, or c–c′). The coil is built by placing a wire inside a slot in one direction (e.g., a), and winding it back inside the opposite slot (a′).

## Slide 5: Generation of Three-Phase Voltages
ECpE Department
When the magnet is spinning clockwise inside the machine by an external prime mover, the magnetic field then cuts all coils and, therefore, induces a voltage across each of them.
If each coil is connected to a load impedance, a current would flow into the load, and the generator produces electric energy that is consumed by the load.
The dot inside the coil indicates a current direction toward the reader, and the cross indicates a current in the opposite direction.
The voltage across any of the three coils can be expressed by Faraday's law
Where,
  is the voltage induced across the coil is the number of turns in the coil is the flux density of the magnetic field is the length of the slot is the angular speed

## Slide 6: Generation of Three-Phase Voltages
ECpE Department
The voltage induced on a conductor is proportional to the perpendicular component of the magnetic field with respect to the conductor.
At the rotor position in Figure, coil a–a′ has the maximum perpendicular field and, hence, it has the maximum induced voltage. Coil b–b′ will have its maximum voltage when the rotor moves clockwise by 120°, and coil c–c′ will have its maximum voltage when the rotor is at 240° position.
If the rotation is continuous, the voltage across each coil is sinusoidal, all coils have the same magnitude of the maximum voltage, and the induced voltages are shifted by 120°.

## Slide 7: Generation of Three-Phase Voltages: Mathematical Expression
ECpE Department
Where, is the phasor voltage in complex number form is the magnitude of the rms voltage
as reference,

## Slide 8: Connection of Three-Phase Circuits
ECpE Department
The three-phase generator has three independent coils and each coil represents a phase.
Since each coil has two terminals, the generator has six terminals.
To transmit the generated power from the power plant to the load centers, six wires seem to be needed.
Since the transmission lines are often very long (hundreds of miles), the cost of the six wires is very high.
To reduce the cost of the transmission system, the three coils are connected in a wye or delta configuration.. The end of all the coils are bonded to a single point known as neutral. The other ends are connected to the three-wire (three-phase) system.
In the delta configuration, the end of each coil is connected to the entrance of the adjacent coil. The entrance of each coil is then connected to one of the phases of the transmission line. In each of these configurations, only three wires are needed to transmit the power. These three wires are considered to be one circuit.

## Slide 9
ECpE Department

## Slide 10: Connection of Three-Phase Circuits
ECpE Department
The generator is connected to the load via the three-wire transmission circuit.
This simple power circuit is divided into three distinct parts: source, load, and three-wire circuit. The three-wire circuit is called three-phase transmission line.
The currents in the transmission line conductors are called line currents. The voltages of the transmission line are classified by two variables: (1) line-to-neutral (line-to-ground) voltage and (2) line-to-line voltage
The line-to-ground voltage is also called phase voltage or phase-to-ground voltage. The phase voltage is the voltage between any line and the ground (or neutral).
The voltage between any two lines is the line-to-line voltage.

## Slide 11: Main Components
ECpE Department
A balanced 3-phase system has:
Three sinusoidal voltage sources with equal magnitude, but with an angle shift of .
equal loads on each phase.
equal impedance on the lines connecting the sources to the loads

## Slide 12: 3-Phase Voltage Source
ECpE Department
We have two type of 3-Phase voltage source:
  Y- Connected
  𝚫- Connected

## Slide 13: Y- Connected Voltage Source
ECpE Department
Positive Sequence Voltage Source
Note:

## Slide 14
Pictures of Generators and Transformers
ECpE Department

## Slide 15
ECpE Department

## Slide 16
ECpE Department

## Slide 17
ECpE Department

## Slide 18
ECpE Department

## Slide 19
ECpE Department

## Slide 20
ECpE Department

## Slide 21
ECpE Department

## Slide 22
ECpE Department

## Slide 23
ECpE Department

## Slide 24
ECpE Department

## Slide 25
ECpE Department

## Slide 26: 3-Phase Voltage Source – (Y-Connection)
In every balanced three-phase system, the sum of abc variables is ALWAYS zero:
ECpE Department
Y-Connected 3-Phase Voltage Source

## Slide 27: Contd…
Therefore,
ECpE Department
Y-Connected 3-Phase Voltage Source

## Slide 28: Contd…
Or,
Line to Line voltages are also balanced.
ECpE Department
Y-Connected 3-Phase Voltage Source

## Slide 29: Contd…
ECpE Department
So, in a Y-connected source

## Slide 30: Summary of 3-Phase, Y-Connection
ECpE Department
Time Domain Representation

## Slide 31: Contd…
ECpE Department
Phasor Domain Representation
Line to Neutral (L-N) Voltage, also called Phase Voltage
L-N
a
c
b
n
Relationship between Line to Line (L-L) and L-N voltage

## Slide 32: Contd…
ECpE Department
Conclusion: In Y- connection

## Slide 33: 3-Phase Voltage Source – (𝚫-Connection)
For the 𝚫 connection ,
Phase voltages equal Line voltages.
ECpE Department
(𝚫-Connection) 3-Phase Voltage Source

## Slide 34: Contd…
For the 𝚫 connection , phase voltages equal line voltages.
Moreover,
Line Currents are also balanced.
ECpE Department
(𝚫-Connection) 3-Phase Voltage Source

## Slide 35: Contd…
ECpE Department
So, in a 𝚫-Connection source:

## Slide 36: Summary of 3-Phase, 𝚫 -Connection Source
ECpE Department
Measurement from outside, the voltages are; / /
(Note: Line voltage=Phase Voltage in Delta Connection)
Measurement from outside, the currents are; / /

## Slide 37: Contd…
ECpE Department
Conclusion: In 𝚫 - connection
Source
(Phase Voltage and Phase Current)
Load
L-L
Measurement from Outside

## Slide 38: 3-Phase Voltage Source: (Y-Connected Source)
ECpE Department

## Slide 39: 3-Phase Voltage Source: (𝚫 -Connected Source)
ECpE Department
Loads
L-L

## Slide 40: 3-Phase Load: (Y-Connected Load)
ECpE Department
Source
Phase & Line Currents are the same.

## Slide 41: 3-Phase Load: (𝚫 -Connected Load)
ECpE Department
Phase & Line Voltages are the same.
Loads

## Slide 42: 3-Phase Load: Summary
ECpE Department
Phase & Line Voltages are the same.
𝚫 -Connected Load
Y -Connected Load
Phase & Line Currents are the same.

## Slide 43: Neutral Point
ECpE Department

## Slide 44: Contd…
ECpE Department

## Slide 45: Contd…
ECpE Department

## Slide 46: Example
ECpE Department
Q. Assume a -connected load is supplied from a 3-phase (L-L) source with . Find , and . Moreover, determine the load apparent power of the source.

## Slide 47: Contd…
ECpE Department
Q. Assume a -connected load is supplied from a 3-phase (L-L) source with . Find , and . Moreover, determine the load apparent power of the source.
Solution,

## Slide 48: Contd…
ECpE Department
Q. Assume a -connected load is supplied from a 3-phase (L-L) source with . Find , and . Moreover, determine the load apparent power of the source.
Solution,

## Slide 49: Contd…
ECpE Department
Q. Assume a -connected load is supplied from a 3-phase (L-L) source with . Find , and . Moreover, determine the load apparent power of the source.

## Slide 50: Contd…
ECpE Department
Q. Assume a -connected load is supplied from a 3-phase (L-L) source with . Find , and . Moreover, determine the load apparent power of the source.

## Slide 51: Fun Fact
ECpE Department
Imagine you have a power plant that generates electricity from coal and transmits the generated electrical energy to your home via transmission lines.
If you use this energy to power a conventional lightbulb, how much do you think is the overall efficiency of the system (coal to light)?

## Slide 52: Contd…
ECpE Department

## Slide 53: 𝚫- Y Transformation
ECpE Department
To simplify analysis of balanced 3 Phase systems:
𝚫-connected sources can be replaced by an equivalent Y-connected sources with
𝚫-connected loads can be replaced by an equivalent Y-connected loads with .

## Slide 54: 𝚫- Y Transformation - Source
ECpE Department
We would like to have:

## Slide 55: Three Phase Transformers Combinations
ECpE Department
Three phase transformers are of 𝚫 - 𝚫, Y - Y, 𝚫 - Y, and Y - 𝚫 combinations.
𝚫 - 𝚫
Common in Transmission Systems
Reliability
3rd harmonics propagation
Cannot be grounded
Cannot supply very unbalanced system
cannot handle a large amount of single-phase load.
Y - Y
Can be grounded on each side.
No phase shift
No 3rd harmonics propagation.
𝚫 - Y
Most commonly used connection scheme (Step-down transformer between Transmission and Distribution.
Presence of Neutral/ Can be grounded.
3rd harmonics propagation.
Reliable
Phase shift

## Slide 56: 𝚫- Y Transformation - Loads
ECpE Department

## Slide 57: Contd…
ECpE Department
- connected loads can be replaced by Y-connected loads with .
From -side: we have,
From -side: we have,

## Slide 58: Contd…
ECpE Department
- connected loads can be replaced by Y-connected loads with .
From -side: we have,
From -side: we have,

## Slide 59: Per Phase Analysis
ECpE Department
Per phase analysis allows analysis of balanced 3-phase systems with the same effort as for a single-phase system. Per phase analysis is applicable to balanced 3-phase systems with all loads and sources -connected and no mutual inductance between phases.
In such systems:
All neutrals are at the same potential.
All phases are COMPLETELY decoupled.
All system values are the same sequence as sources. The sequence order we have been using (phase b lags phase a and phase lags phase ) is known as positive sequence.
Convert all load/sources to equivalent Y’s.
Keep in mind that all naturals are at the same potential.

## Slide 60: Contd…
ECpE Department
Solve phase "a" independent of the other phases.
Total system power is then .
If desired, phase "b" and "c" values can be determined by inspection (i.e., degree phase shifts).
If necessary, go back to original circuit to determine line-line values or internal values.

## Slide 61: Per Phase Analysis Example
ECpE Department
Assume a 3phase, Y-connected generator with volts supplies a -connected load with through a transmission line with impedance of per phase. The load is also connected to a connected generator with through a second transmission line which also has an impedance of per phase.
Find:
The load voltage
The total power supplied by each generator, and .

## Slide 62: Contd…
ECpE Department
Find:
The load voltage
The total power supplied by each generator, and .

## Slide 63: Contd…
ECpE Department
First, convert the load and sources to their equivalent load and sources.

## Slide 64: Contd…
ECpE Department
Since all neutral points are at the same potential, we may assume a line between them to better illustrate phase a.

## Slide 65: Contd…
ECpE Department
We draw phase a and solve the circuit by writing KCL at a’:

## Slide 66: Contd…
ECpE Department
We draw phase a and solve the circuit by writing KCL at a’:
Therefore,

## Slide 67: Contd…
ECpE Department
Therefore,
Volts
Volts
Volts

## Slide 68: Contd…
ECpE Department
Therefore,
Volts
Volts
Volts
And,
volts

## Slide 69: Contd…
ECpE Department
Therefore,
Volts
Volts
Volts
And,
volts
Thus,

## Slide 70: Contd…
ECpE Department
Thus,
Note that we calculate the complex power in the transformed circuit. Since source and its transformed Y source are equivalent, their complex power is the same.

## Slide 71: Per Phase Analysis Example 2
ECpE Department
Assume a 3-phase, -connected generator with volts supplies a -connected load with through a transmission line with impedance of per phase. The load is also connected to another Y-connected load with impedance of through a second transmission line which has an impedance of per phase.
Calculate the complex power of the second load for two scenarios:
i) and
ii)

## Slide 72: Per Phase Analysis Example 2
ECpE Department
Calculate the complex power of the second load for two scenarios:
i) and
ii)

## Slide 73: Per Phase Analysis Example 2
ECpE Department
First, convert the load and sources to their equivalent load and sources.

## Slide 74: Per Phase Analysis Example 2
ECpE Department
Since all neutral points are at the same potential, we may assume a line between them to better illustrate phase a.

## Slide 75: Per Phase Analysis Example 2
ECpE Department
We draw phase a and solve the circuit by writing KCL at a':

## Slide 76: Per Phase Analysis Example 2
ECpE Department
We draw phase a and solve the circuit by writing KCL at a':
Therefore,

## Slide 77: Per Phase Analysis Example 2
ECpE Department
Therefore,

## Slide 78: Per Phase Analysis Example 2
ECpE Department
Therefore,
Thus,
volts
And,

## Slide 79: Per Phase Analysis Example 2
ECpE Department
For the other load, we write the same KCL at a':
Therefore,

## Slide 80: Per Phase Analysis Example 2
ECpE Department
Therefore,

## Slide 81: Per Phase Analysis Example 2
ECpE Department
Therefore,
Thus,
volts and,

## Slide 82: Key Messages
ECpE Department
Three-phase systems are usually used at high power/voltage levels.
Three-phase systems are more economical for transferring energy as they need less amount of wire to transmit the same amount of energy compared to single or two-phase systems.
To analyze complicated three-phase BALANCED systems, transformation is the key element.
In three-phase BALANCED systems, when all loads and sources are transformed to connections, neutral points are at the same potential.

## Slide 83: Power in Circuits
ECpE Department
The instantaneous power delivered to a load is,
This power clearly has an average value, (W). This is referred to as the "real power." The second, double frequency, term has no time averaged value, and therefore does no work.
is the "power factor"
"Reactive Power," (VAR)
load. load.
Complex Power, is complex conjugate

## Slide 84: Power in Circuits
ECpE Department
The instantaneous power is:
3x power with one more wire compared to single phase

## Slide 85: Thank You!
ECpE Department