## Slide 1: EE 303 Energy Systems and Power Electronics Per Unit Analysis
GRA: Prashant Tiwari
Advisor: Dr. Zhaoyu Wang
1113 Coover Hall, Ames, IA
wzy@iastate.edu
ECpE Department

## Slide 2: Per Unit Analysis
ECpE Department
Motivation:
It would be difficult to continuously refer impedance to the different sides of transformer.
Mathematically,

## Slide 3: Normalization of all variables
ECpE Department
S, V, Z & I (Note: Ohms law still holds)
Pick , and calculate
(Note: Base values are real numbers)
is for the entire system.
is for each different voltage level.
Base voltages are related by transformer turns ratio

## Slide 4: Contd…
ECpE Department
For a single-phase system:
Step 1: Pick a single-phase base power for the entire system .
Step 2: Pick a base voltage for each different voltage level,
    Base voltages are related by turns ratios.
    voltages are line-to-neutral.
Step 3: Calculate base impedance, .
Step 4: Calculate base current,

## Slide 5: Contd…
ECpE Department
Step 5. Convert actual values to per unit (p.u.)
Notes:
Base values are real numbers. Per unit conversion only affects magnitude, not angle.
Per unit quantities no longer have units.

## Slide 6: Contd…
ECpE Department
;
;
;
;
;
;
;
;

## Slide 7: Per Unit Values of Primary and Secondary Side of a Transformer are EQUAL
ECpE Department
Real Values
Transformation Ratio
Choose Base Values:
&

## Slide 8: Per Unit Values of Primary and Secondary Side of a Transformer are EQUAL
ECpE Department
Choose Base Values:
&

## Slide 9: Per Unit Values of Primary and Secondary Side of a Transformer are EQUAL
ECpE Department
Choose Base Values:
&

## Slide 10: Example 1
ECpE Department
Q. Solve for the current, load voltage & load power in the following circuit using P.U. analysis with an and base voltage of .
System Representation
Actual Values

## Slide 11: Example 1: Solution
ECpE Department
Therefore, we can convert the actual values diagram in p.u. diagram.

## Slide 12: Contd…
ECpE Department
.

## Slide 13: Contd…
ECpE Department

## Slide 14: Three- Phase Per Unit Analysis
ECpE Department
Step 1: Pick a Three-phase base power for the entire system
Step 2: Pick a base voltage for each different voltage level,
    L-L Base
    L-N Base
Step 3: Calculate Base Impedance,
Step 4: Calculate Base current,
Step 5: Convert actual values to p.u.

## Slide 15: Example 2:
ECpE Department
Solve for the current, load voltage and load power in the previous circuit, assuming a 3ϕ base power of 300 MVA, and line to line base voltages of 13.8 kV, 138 kV and 27.6 kV (square root of 3 larger than the 1ϕ example voltages). Also assume the generator is Y-connected so its line-to-line voltage is 13.8 kV.

## Slide 16: Example 2: Solution
ECpE Department
Convert to per unit as before. Note the system is exactly the same as example 1!

## Slide 17: Contd…
ECpE Department
Again, analysis is exactly the same

## Slide 18: Example 3
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 19: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 20: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 21: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 22: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 23: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV

## Slide 24: Example 3: Solution
ECpE Department
13.2 kV
5 MVA
13.2 kV- 132 kV
10 MVA
13.8 kV- 69 kV
Alternatively, we can find as,

## Slide 25: Thank You!
ECpE Department