## Slide 1: EE 455 Introduction to Energy Distribution Systems
Dr. Zhaoyu Wang
1113 Coover Hall, Ames, IA
wzy@iastate.edu
ECpE Department

## Slide 2
Center-Tapped Transformers and Secondaries
Acknowledgement: The slides are developed based in part on Distribution System Modeling and Analysis, 4th edition, William H. Kersting, CRC Press, 2017

## Slide 3: Overview
The standard method of providing three-wire service to a customer is from a center-tapped single-phase transformer.
Center-tapped single-phase transformer provides the customer with two 120-V circuits and one 240-V circuit.
Two types of transformers are available for providing the service to the consumers. (Fig 1 & Fig 2 )
Fig. 1 has center-tapped winding and provides two 120-V circuits and one 240-V circuit.
The voltage rating of this transformer is specified as 240/120 V
Fig. 1 Center-tapped secondary winding
Fig. 2 is a three-winding transformer with two secondary windings connected in series.
The secondary on this transformer is specified as 120/240 V
Fig. 2 Three-winding transformer with secondary windings in series

## Slide 4: Overview
For both connections, the ideal transformer equations are:
Fig. 1 Center-tapped secondary winding
Fig. 2 Three-winding transformer with secondary windings in series
Note: Ideal transformer equations apply to both types of transformers.

## Slide 5: Center- Tapped Single-Phase Transformer Equations
Fig. 3 Center tap transformer model
In Fig. 3, the impedances , , and represent the individual winding impedances.
The ideal secondary voltages of the transformer are:
The ideal primary voltage as a function of the secondary ideal voltages is:
where,
Substitution of (1) in (2),
(3)
(1)
(2)
GOAL:
To derive equation that shows the relationship between Primary Voltage () and Secondary Voltages ( & ) and Currents ( & .

## Slide 6: Center- Tapped Single-Phase Transformer Equations
Fig. 3 Center tap transformer model
The primary transformer current as a function of the secondary winding currents is,
where,
The source voltage as a function of the ideal primary voltage is,
(4)
(5)

## Slide 7: Center- Tapped Single-Phase Transformer Equations
Fig. 3 Center tap transformer model
where,
(7)
(6)
Substitution of (3) in (5),
Substitution of (4) in (6),
Eq. (7) is the backward sweep voltage equation for the single-phase center tapped transformer when the secondary voltages and currents are known.
Also, Eq. (7) is used to compute the primary source voltage when the secondary terminal voltages and the secondary currents are known.

## Slide 8: Center- Tapped Single-Phase Transformer Equations
Fig. 3 Center tap transformer model
To compute the secondary terminal voltages when the primary source voltage and secondary currents are known (Forward Sweep) is derived from Eq. (7).
Eq. (8) is the forward sweep voltage equation for the single-phase center tapped transformer when the source voltages and secondary currents are known.
where,
(8)

## Slide 9: Center- Tapped Single-Phase Transformer Equations
Fig. 3 Center tap transformer model
where,
(9)
Likewise, the primary current as a function of the secondary voltages and currents is given by the backward sweep current equation as,

## Slide 10: Center- Tapped Transformers Serving Loads through a Triplex Secondary
Fig. 4 Center-tapped transformer with secondary
Fig 3. shows a center-tapped transformer serving a load through a triplex secondary.
Impedance matrix for the triplex secondary needs to be determined before modeling the system
Impedances of the triplex are computed using Carson’s equations and the Kron reduction method.
Carson’s equations result in a 3 × 3 matrix.
The Kron reduction method is used to “fold” the impedance of the neutral conductor into that of the two-phase conductors.
A triplex secondary consisting of two insulated conductors and one uninsulated neutral conductor is shown in Figure 11.7
Spacings between conductors applied in Carson’s equations are given as,
Fig. 5 Triplex Secondary

## Slide 11: Center- Tapped Transformers Serving Loads through a Triplex Secondary
Fig. 4 Center-tapped transformer with secondary
Applying Carston’s equations,
Fig. 5 Triplex Secondary
where, conductor resistance in mile conductor geometric mean radius in distance in between conductors and
The secondary voltage equation in matrix form is:
When the neutral is grounded at the transformer and the load, then:

## Slide 12: Center- Tapped Transformers Serving Loads through a Triplex Secondary
Fig. 4 Center-tapped transformer with secondary
This leads to the Kron reduction equation in partitioned form:
Fig. 5 Triplex Secondary
Solving for neutral current,
where,
The Kron reduction gives the 2×2 phase impedance matrix:
For a secondary of Length ‘L’,

## Slide 13: Center- Tapped Transformers Serving Loads through a Triplex Secondary
Fig. 4 Center-tapped transformer with secondary
From Fig. 4, the voltage backward sweep for the secondary is given by:
where,
Because of the short length of the secondary, the line currents leaving the transformer are equal to the line currents at the load.
Thus, no backward sweep is need.
However, to remain consistent for the general analysis of a feeder the matrix is defined as:
where,
(9)

## Slide 14: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Fig. 5 Ungrounded Wye – Delta Transformer center-tapped transformer connection
The turns ratio for all transformer are given by:

## Slide 15: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
The basic transformer equations for the center tap transformer are:
For the transformer bank, the basic "ideal" transformer voltage equations as a function of the turn's ratio are:
where,

## Slide 16: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
where,
The basic “ideal” transformer current equations as a function of the turn’s ratio are:
where,

## Slide 17: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
where,
Forward Sweep
In the forward sweep, the line-to-ground voltages at the terminals of the transformer bank will be known.
In order to determine the voltages across the transformer, it is necessary to first determine the "ideal" primary voltages defined as:
The first step is to determine the voltages of the "ideal" transformer to the ground.
,
,

## Slide 18: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
where,
Forward Sweep
The line-to-line “ideal” voltages are:
,
Primary "ideal" voltages to ground as a function of the primary line-to-ground voltages are:
where,
The primary line-to-line voltages across the "ideal" transformer windings are:
(10)
(11)

## Slide 19: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
On substitution Eq. (10) in Eq. (11)
In Eq. 12, the "ideal" line-to-line voltages are known.
The “ideal” line-to-neutral voltages are needed to continue the forward sweep.
In Eq. 11, it appears that the line-to neutral voltages can be computed by using the inverse of the matrix however the matrix is singular.
Two of the equations in Eq. (11) can be used, but a third independent equation is needed.
The two equations from (11) that will be used are:
(12)
(13)

## Slide 20: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
The third independent equation comes from writing Kirchhoff's Voltage Law (KVL) around the delta secondary.
The sum of the secondary voltages around the delta must be equal to zero.
where,
but,
where,
(14)
Note: The secondary transformer currents will be set to zero in Eq. (14) during the first forward sweep, after that, the most recent secondary current from the backward sweep will be used.

## Slide 21: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
Eq.(13) and Eq. (14) are combined in matrix form as:
where,
Note: The secondary transformer currents will be set to zero in Eq. (14) during the first forward sweep, after that, the most recent secondary current from the backward sweep will be used.
The ideal voltages are computed by taking the inverse of
With the "ideal" line-to-neutral voltages known, the forward sweep continues with the computation of the secondary "ideal" voltages
(15)

## Slide 22: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
The secondary transformer terminal voltages are given by:
In the first forward sweep, the secondary delta currents are assumed to be zero.
On the first backward sweep, the secondary line currents will be known.
In order to determine the currents in the delta as a function of the line currents, only three Kirchhoff's Current Law (KCL) equations can be used.
The fourth independent equation comes from recognizing that the sum of the primary line currents must be equal to zero.
The three KCL equations to use are:
(16)

## Slide 23: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
Because the sum of the line currents must equal zero, the fourth equation is given by:
Combining Eq. (16) and (17) into matrix form:
(17)
The delta currents can now be computed by taking the inverse of ,
where,
(18)

## Slide 24: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
In Eq. 18, the fourth column of the inverse is not needed, as the fourth term in the current vector is zero. The modified Eqn is shown in (19)
(19)
Note: We have derived following expression in slide 15,
where,
On substitution of Eq. 19 in the above equation, (from slide 15)
Define:
(20)
Note: Eqn. (20) is necessary equation used in the backward sweep to compute the primary line currents.

## Slide 25: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
With the primary line currents known, the primary line-to-neutral voltages are computed as:
(21)
The secondary transformer voltages are computed by:
(22)
Substitute Eqn. (15) into Eqn. (22):
(23)
Substitute Eqn. (21) into Eqn. (23):

## Slide 26: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Forward Sweep
define:

## Slide 27: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Backward Sweep
The terminal line-to-neutral voltages are:
The "ideal" secondary voltages as a function of the secondary terminal voltages are:
(24)
(25)
Substitute Eqn. (25) in Eqn. in (24)
where,
(26)

## Slide 28: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Backward Sweep
Note:
Normally on the backward sweep the node voltages are not computed using Eqn. (26).
Only the currents are calculated back to the source.
However, as a check to confirm the final results of the power-flow program, Eqn. (26) using the computed secondary voltages and currents is used to confirm that the source voltages are the same as that which were used in the forward sweep

## Slide 29: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Summary of the Equation Derived:
It is important to note that the turn's ratio is given by:
In the derivation of the forward and backward matrices, it was found that all of the matrices can be defined by the combination of matrices based upon basic circuit theory. The definitions are as follows:
(26)

## Slide 30: Ungrounded Wye – Delta Transformer Bank with Center-Tapped Transformer
Summary of the Equation Derived:
The individual matrices in Eqn. (26) define the relationship between parameters by:
The definitions of Equations (26) and (27) will be used to develop the models for the open wye-open delta connections.
(27)

## Slide 31: Open Wye - Open Delta Transformer Connections
Usually, it consists of one lighting transformer and one power transformer.
The combination of the transformer is used to serve a combination single-phase and three-phase loads.
For this connection, the neutral of the primary wye-connected windings must be grounded.
There are two type of connections for an open Wye – Open Delta Transformer Connection.
  Leading Open Wye – Open Delta Connection
  Lagging Open Wye – Open Delta Connection

## Slide 32: Open Wye - Open Delta Transformer Connections
Fig. (a) Leading Open Wye – Open Delta Connection
Fig. (b) Leading Open Wye – Open Delta voltage phasors
The “leading” connection, the voltage applied to the lighting transformer will lead the voltage applied to the power transformer by 120°.
The voltage phasors at no-load for the leading connection in Fig. (a) are shown in Fig. (b).
In Fig. (b) there are three line-to-line voltages; two of those voltages come directly from the primary voltages applied to the lighting and power transformers, and the third voltage is the result of line-to-line voltages and must equal to zero.
The “leading” Connection

## Slide 33: Open Wye - Open Delta Transformer Connections
Fig. (a) Lagging open wye – open delta connection
Fig. (b) Lagging Open Wye – Open Delta voltage phasors
The “lagging” connection, the voltage applied to the lighting transformer will lag the voltage applied to the power transformer by 120°.
The voltage phasors at no-load for the lagging connection in Fig. (a) are shown in Fig. (b).
The “lagging” Connection

## Slide 34: Open Wye - Open Delta Transformer Connections Equations
There will be a slight difference in the matrices for the leading and lagging connections.
In order to define the matrices, the subscript L will be used on various matrices.
  L = 1 (leading connection)
  L = 2 (lagging connection)
Forward Sweep
The "ideal" primary transformer voltages for both connections are:
(27)
where,

## Slide 35: Open Wye - Open Delta Transformer Connections Equations
Forward Sweep
The "ideal" secondary transformer voltages are:
(28)
.
Leading Connection
Lagging Connection
Substitute Eqn. (27) in Eqn. (28),
The transformer secondary currents are defined as:
Leading connection:
Lagging connection:
(29)
(30)

## Slide 36: Open Wye - Open Delta Transformer Connections Equations
Forward Sweep
The primary line currents as a function of the secondary open delta currents are:
(31)
where,
The secondary open delta currents as a function of the secondary line currents are:
(32)
where,
,
,

## Slide 37: Open Wye - Open Delta Transformer Connections Equations
Forward Sweep
Substitute Equations (31) and (32) in Eqn. (29) :
(33)
The transformer bank secondary voltages are:
(34)
where,
,
but,

## Slide 38: Open Wye - Open Delta Transformer Connections Equations
Forward Sweep
Substitute Equations (33) in Eqn. (34) :
(35)
The secondary line voltages are:
(36)
where,

## Slide 39: Open Wye - Open Delta Transformer Connections Equations
Forward Sweep
Substitute Equations (35) in Eqn. (36) :
(37)
Define:
therefore:

## Slide 40: Open Wye - Open Delta Transformer Connections Equations
Backward Sweep
Substitute Equations (32) in Eqn. (33) :
(37)
where,

## Slide 41: Four Wire Secondary
The combination of single-phase and three-phase loads will be connected through a length of open four-wire secondary or a quadraplex cable secondary.
Fig. Four-Wire secondary serving combination loads
For Modelling four wire secondary,
The first step is to compute self- and mutual impedances for modeling the open four-wire or quadraplex cable secondary.
Carson's equations are used to calculate the 4x4 primitive impedance matrix.
The Kron reduction method is applied to eliminate the fourth row and column since the secondary neutral is grounded at both ends.
The result is the 3x3 phase impedance matrix.
Chapter 4 provides more details on how to apply Carson's equations and the Kron reduction.
Fig. Quadraplex Cable

## Slide 42: Modeling of Four Wire Secondary
The 3x3 phase impedance matrix provides self-impedance for the three line conductors and mutual impedance between them.
The model of the four-wire secondary will again be in terms of the abcd and AB generalized matrices.
The first step in developing the model is to write KVL around the three "window" loops and the outside loop in Fig. shown in the right.
Substitute Eq. (38) in Eqn. (39),
(38)
(39)
(40)

## Slide 43: Modeling of Four Wire Secondary
Eq. (40) is in the form of:
where,
Because there are no shunt devices between the transformer and the loads, the currents leaving the transformers are equal to the line currents serving the loads. Therefore:
The matrices for the forward sweep are:
(41)

## Slide 44: Thank You!